## Slide 1
Lithium-ion Battery Safety
New Technologies Present New Risks
© 2025 Underwriters Laboratories Inc.

## Slide 2
New technology
Lithium-ion (Li-ion) is the most popular rechargeable battery chemistry used today.
Li-ion batteries consist of a single or multiple Li-ion cells along with a protective circuit board.
Li-ion battery-powered devices can be found in the home and workplace in products too numerous to count.
What is a lithium-ion battery?
Common products with li-ion batteries
Cell phones
Laptops
Electric power tools
Wheelchairs
Law mowers
E-Bike
E-Scooters
Electric vehicles
Notes: What is a lithium-ion battery?
Lithium-ion is the most popular rechargeable battery chemistry used today. It consists of single or multiple lithium-ion cells along with a protective circuit board.
Lithium-ion battery-powered devices can be found in the home and workplace in products such as cell phones, laptops, electric power tools, wheelchairs, lawn mowers, e-bikes, e-scooters, and electric vehicles.

## Slide 3
New Risks
Lithium-ion batteries have the potential to overheat, catch fire, and cause explosions if they go into thermal runaway.
Thermal runaway occurs when the temperature inside the battery increases so much that the lithium-ion cell cannot dissipate heat and enters an uncontrollable self-heating state.
What causes Li-ion batteries to go into thermal runaway?
Damage
Electrochemical abuse from overcharging or draining
High- or low-temperature environments
Internal short-circuit
What are the risks associated with li-ion batteries?
Notes: Lithium-ion batteries are powering our lives in more ways than ever before, but with this new technology comes new safety risks. Despite their many advantages, lithium-ion batteries have the potential to overheat, catch fire, and cause explosions.
This most commonly occurs when the batteries are damaged, suffer electro-chemical abuse (eg., from overcharging or completely draining the battery), are in high- or low-temperature environments, or have an internal short-circuit. In those cases, the lithium-ion battery can go into thermal runaway and catch on fire.
Thermal runaway is one of the primary risks related to lithium-ion batteries. It is a phenomenon that occurs when the temperature inside the battery increases so much that the lithium-ion cell cannot dissipate the heat and enters an uncontrollable, self-heating state. This state can start a fire or cause an explosion that blows out windows and spreads fire throughout a house, apartment, or storefront.
The cell reaches thermal runaway when its temperature rises uncontrollably with maximum temperatures hotter than 1000°F (about 500°C) when accompanied by gas and/or a release of the battery's internal chemicals, smoke or fire, or a combination of all.

## Slide 4
Incidents in 2024
Consumer Products
Micro-Mobility Devices (<20mph)
Total Injuries
2,178
199
Total Fatalities
Total Injuries
1,982
340
Total Fatalities
Total incidents reported (1995-2024 YTD)
Total Incidents
Total Injuries
Total Fatalities
3880
586
104
Research provided by UL Solutions: https://www.ul.com/insights/lithium-ion-battery-incident-reporting
Incidents are on the rise
Every day use leads to everyday incidents

## Slide 5
Fire moves fast
Li-ion battery fires move even faster than a typical residential fire.
From the first warning signs of smoke or hissing noises, you may have less than one minute to escape a fire.
The best way to stay safe from li-ion battery fires is to prevent them from occurring.
Notes: The speed at which lithium-ion battery fires spread is significantly faster than other residential fires.
From the first sign of a problem, you may have less than one minute to escape a lithium-ion battery fire. Think about that… less that ONE minute.
With the speed of these fires, the best way to be safe from li-ion fires is to prevent a fire from starting.

## Slide 6
Choose certified products
Handle with care
Always stay alert for warning signs
Recycle devices and batteries properly
Get out quickly if there’s a fire
Educate others on safe practices
What you can do to
Take C.H.A.R.G.E.
of Battery Safety?
Notes: How can you Take C.H.A.R.G.E. of battery safety?
Prioritizing these safety measures will help you Take C.H.A.R.G.E. of Battery Safety.
Choose certified products
Handle with care
Always stay alert for warning signs
Recycle devices and batteries properly
Get out quickly if there’s a fire
Educate others on safe practices
These all seem straight forward enough, but let’s dig in a little deeper into what these instructions mean….

## Slide 7
Public Safety Announcement

## Slide 8
Choose certified products
Considerations:
Many products sold online do not meet these critical safety standards­.
Unregulated electric scooters and bikes are significantly concerning due to their size.
Only buy products that are listed or safety certified by a nationally recognized testing laboratory to ensure they meet important safety requirements.
Notes: ”C” – Choose only certified products
When purchasing li-ion battery-powered devices, look for products that are listed or safety certified by a nationally recognized testing laboratory to ensure they meet important safety requirements.
Countless products sold online do not meet these critical safety standards­.
Unregulated electric scooters and bikes are significantly concerning due to the size of the li-ions that power these devices. The more li-ion cells, the bigger the risk of thermal runaway - especially from uncertified devices.

## Slide 9
Handle with care
Follow the manufacturer’s instructions.
Only use charging equipment that comes with the product.
Store batteries away from extreme temperatures, direct sunlight, exits, and anything flammable.
Do not modify the battery or the charger in any way.
Charge larger devices (such as eBikes) away from your exit path and outside your home, if possible.
Do not charge larger devices overnight.
Notes: “H” – Handle with care
Follow the manufacturer’s instructions.
Only use charging equipment that comes with the product.
Store batteries away from extreme temperatures, direct sunlight, exits, and anything flammable.
Do not modify the battery or the charger in any way.
Charge larger devices (such as eBikes) away from your exit path and outside your home if possible.
Do not charge larger devices overnight.

## Slide 10
Always stay alert for warning signs
Check battery-powered devices often for damage or abuse such as swelling, punctures, or changes in shape.
Listen for unusual hissing or popping sounds.
Watch out for excessive heat or a strange odor.
If you notice any of these warning signs, stop.using the device
Notes: “A” - Always stay alert for warning signs
Check battery-powered devices often for damage or abuse such as swelling or punctures.
Listen for unusual hissing or popping sounds.
Watch out for excessive heat or a strange odor.
If you notice any of these warning signs, stop using the lithium-ion powered devices.
White or gray wispy smoke indicates immediate danger of thermal runaway.

## Slide 11
Recycle devices and batteries properly
Responsibility dispose of old or damaged batteries and devices by taking them to the nearest battery recycling center.
Never discard batteries, chargers or battery-powered devices in regular trash bins.
Notes: “R” – Recycle devices and batteries properly
Responsibly dispose of old or damaged batteries and devices by taking them to the nearest battery recycling center.
Never discard batteries, chargers, or battery-powered devices in regular trash bins.

## Slide 12
Get out quickly if there’s a fire
Know the warning signs to look and listen for and get out if you see – or hear – one.
Follow your home fire escape plan to leave immediately and call 9-1-1.
Notes: “G” – Get out quickly if there’s a fire.
Know the warning signs to look and listen for and get out if you see – or hear – one. Remember, you may have less than one minute if the device goes into thermal runaway. What are the warning signs? Hissing or popping, smoke, or strange odor.
Follow your home fire escape plan to leave immediately and call 9-1-1.

## Slide 13
Educate others about battery safety
Now that you know what actions to take, spread the word.
Protect your friends and loved ones by sharing how they can Take C.H.A.R.G.E. of Battery Safety.
Notes: “E” - Educate others on battery safety
Now that you know what actions to take, spread the word.
Protect your friends and loved ones by sharing how they can Take C.H.A.R.G.E. of Battery Safety.

## Slide 14
During a fire, closing the door could have a potentially life-saving impact. Learn more.
Smoke alarms give
you and your loved ones the earliest warning possible that there is a fire. Learn more.
Li-ion batteries can store a lot of power in
a small space, but it comes with a trade-off: the risk of thermal runaway. Learn more.
Lithium-ion batteries must be recycled safely to reduce risks to humans and the environment. Learn more.
Additional fire safety resources
Notes: Close Before You Doze: During a fire, closing the door could have a potentially life-saving impact.
Smoke Alarms Save Lives: Smoke alarms are the first warning of a fire. Make sure yours are working.
XploreLabs: Want to know more about the science behind thermal runaways? Xplorlabs has an entire learning module to help you understand the risks.

## Slide 15
The Take C.H.A.R.G.E. of Battery Safety campaign is brought to you by the Fire Safety Research Institute (FSRI). FSRI is advancing battery safety knowledge to help you use and enjoy your devices safely.

## Slide 16
Questions?
© 2025 Underwriters Laboratories Inc.
@fsri.org
@fsri-org
@fsri_org
@ulfsri
@fsri
@firesafetyresearchinstitute
Notes: Redesigning the social media icons isn’t going to happen and is non-negotiable. We have to respect their brand guidelines, just as we expect others to respect ours. Legal consequences, while not likely, are possible. This needs to be known to anyone making PowerPoints or any other collateral where social icons are used.